Performance Testing

| Date | 19 February 2026 |
| --- | --- |
| Team ID | LTVIP2026TNIDS74884 |
| Project Name | Deep Learning Fundus Image Analysis for Early Detection of Diabetic Retinopathy |

Project Overview:

1. MODEL PERFORMANCE METRICS

The DenseNet121 model was evaluated on a test dataset of retinal images. The following metrics were recorded:

- Accuracy: 93.2%

- Precision: 92.8%

- Recall: 91.5%

- F1-Score: 92.1%

2. CLASS-WISE PERFORMANCE

Class 0 (No DR): Precision 95%, Recall 94%

Class 1 (Mild DR): Precision 89%, Recall 87%

Class 2 (Moderate DR): Precision 91%, Recall 90%

Class 3 (Severe DR): Precision 90%, Recall 89%

Class 4 (Proliferative DR): Precision 94%, Recall 93%

3. INFERENCE SPEED

Average prediction time per image: 3.2 seconds

- Minimum: 2.8 seconds

- Maximum: 4.1 seconds

- Tested on: CPU (Intel i7, 16GB RAM)

4. SYSTEM PERFORMANCE

- Page load time: 1.5 seconds

- Image upload time: 0.8 seconds

- Concurrent users handled: 10 (tested)

- Memory usage: 450 MB during prediction

- CPU usage: 65% during peak

5. CONCLUSION

The model meets the required performance standards with over 90% accuracy and acceptable prediction speed for real-time use.